\magnification = \magstep1

\overfullrule = 0pt

\def\degrees{{$^\circ$}}

\def\E{{\bf E}}

\def\X{{\bf X}}

\def\M{{\bf M}}

\bigskip

\centerline{\bf

Genotyping by quantitative heteroduplex analysis:

}

\centerline{\bf

Theoretical derivation and experimental verification of optimal DNA mixing.

}

\bigskip

\centerline{\bf

RA Palais, MA Liew, and CT Wittwer

}

\bigskip

{\bf

\bigskip

Detection of heteroduplexes effectively screens for heterozygotes, but

usually does not distinguish between different homozygotes.

If DNA of known genotype is added to PCR products of

a sample of unknown homozygous genotype, and the mixed DNA is

dissociated then hybridized, formation of heteroduplexes

indicates that different genotypes are present.

Instead of mixing after PCR, which requires two analyses and

increases the risk of product contamination, we propose adding

DNA of known homozygous genotype to each unknown before PCR.

If the mixture fraction is chosen carefully,

the amount of heteroduplexes produced will distinguish

among a heterozygous SNP, a homozygous SNP, and wild-type DNA.

Our analysis suggests that when homozygotes

are most similar, the quantity of additional DNA which

optimizes the separation of the three genotypes

of  bi-allelic, diploid DNA comprises one-seventh of

the resulting mixture.

Experimental verification with both high-resolution melting analysis

and quantitative temperature gradient capillary electrophoresis (qTGCE)

confirmed this prediction,

and the importance of the correct proportion.

If the proportion is one-third or one-half, for instance, some

genotypes are virtually indistinguishable.

When combined with high-resolution melting analysis, this technique

requires only one close-tube analysis

for full genotyping.

}

\bigskip

Heteroduplex analysis is a popular technique to screen for sequence

variants in diploid DNA.  After PCR, heteroduplexes are usually

separated by conventional gel electrophoresis $^{(1,2,3)}$, although denaturing high

pressure liquid chromatography (DHPLC), $^{(4)}$ and temperature gradient

capillary electrophoresis (TGCE) $^{(5)}$ can be used.  Recently,

heteroduplexes have been detected in solution without separation by

high-resolution melting analysis.  Either labeled primers $^{(5)}$ or

a saturating DNA dye $^{(7)}$ were used to detect a change in shape of

the fluorescent melting curve when heteroduplexes were produced.

High-resolution melting of PCR products from diploid DNA has been

used for mutation scanning $^{(8-10)}$, HLA matching $^{(11)}$, and

genotyping $^{(7, 12)}$.

\bigskip

Heteroduplex analysis is seldom used for genotyping because different

homozygotes are usually not separated.  In some cases, DHPLC

may separate PCR products by size $^{(13)}$.  However, both DHPLC and

TGCE usually fail to detect homozygous single base changes,

small insertions and deletions.  If suspected, these homozygous

changes can be detected by mixing the PCR product with a known

homozygous PCR product.  However, two sequential analyses are

required and the concentrated PCR product is exposed to the

laboratory, increasing the chance of PCR product contamination of

subsequent reactions.

\bigskip

In contrast to DHPLC and TGCE, different homozygotes can usually

be distinguished by high-resolution melting analysis.

Complete genotyping of human SNPs is possible in over 90\% of

cases because different homozygotes differ in melting

temperature $^{(14)}$.  However, in some cases the two homozygotes

cannot be distinguished and mixing studies are necessary.

When homozygous samples are mixed after PCR, equal volumes of PCR

products are combined, denatured, annealed, and melted.

\bigskip

Alternatively, unknown DNA can be mixed with known homozygous

DNA before PCR.  If the mixed samples have the same genotype,

no heteroduplexes will be produced.

If the mixed samples are not the same, different amounts of heteroduplexes

will be produced, depending on the genotype and

the amount of homozygous DNA added.

\bigskip

Previously, we empirically determined that the optimum amount

of known homozygous DNA to distinguish all SNP genotypes

was approximately 15\%.  We now present a rigorous derivation of

this optimum, by analyzing the theoretical heteroduplex content

and its contribution to melting curves and TGCE measurements

across a full spectrum of genotype mixing proportions, which

are also of interest in pooled sample studies. We then

verify the close agreement of the theory with experiment

using both high-resolution melting analysis and TGCE.

The experiments emphasize the importance of using

the correct proportion of added DNA: If the proportion is one-third or one-half rather

than one-seventh, for instance, some genotypes can be virtually

indistinguishable.

\bigskip

In Fig. 1, we show high-resolution melting curves

of amplicons from DNA exhibiting three SNP genotypes.

The melting curve corresponding to samples with

a homozygous mutation is indistinguishable from that

of the wild type, due to nearest-neighbor thermodynamic

symmetry. (This says that the bases

immediately surrounding the mutation are identical

when the strands are interchanged, e.g.,

\smallskip

\noindent

5'-TCA-3' \quad  5'-TGA-3' \hfil\break

3'-AGT-5' \quad  3'-ACT-5' \hfil\break

\smallskip

The melting curves corresponding to

heterozygous samples, which as genomic

DNA consist of equal parts wild-type homoduplexes

and mutant homoduplexes, appear quite different

than the melting curves of either of these

species of duplex. Even though PCR amplifies

all strands in the form of homoduplexes,

by the time it plateaus, strands are

reassociating randomly into homoduplexes

and heteroduplexes instead of extending.

In the heterozygous case, the DNA that is melted

is an equal mixture of four species

of duplex, the wild-type and mutant heteroduplexes,

and two types of nearly complementary

heteroduplexes, so that the total heteroduplex

content is ${1 \over 2}$ (Fig. 2).

\bigskip

There are only complementary strands amplified

from wild-type and homozygous mutant samples,

so even at the end of PCR, there are no

heteroduplexes present.

After PCR and analysis has determined a sample

to be indistinguishable wild-type or mutant

homozygous, a procedure sometimes known as

spiking can be performed,

which consists of of adding DNA of known genotype

to determine genotypic identity or difference

from the absence or presence of heteroduplexes.

\bigskip

Our goal is to find a method

requiring no post-PCR mixing (which is suceptible

to contamination) which can distinguish wild-type

and homozygous mutant from each other, as well as

from heterozygous samples, in one-step.

To do so, we seek the optimal fraction of wild-type

DNA to be added to samples before PCR, which we

call the `mixture fraction', so that after

amplification and random reassociation of strands,

the heteroduplex content of mixtures with

the different genotypes will make the resulting

melting curves most distinguishable.

\bigskip

The mixture with a wild-type samples will still have no

heteroduplex content regardless of the amount of

the identical DNA which is added.

In contrast,

if wild-type DNA is mixed with a homozygous mutant sample,

even though PCR amplifies all strands of the mixture

as homoduplexes, by the time it plateaus (or after

heating then cooling the mixture to promote

random reassociation) a fraction of

heteroduplexes will be formed,

depending on the amount of wild-type DNA added.

If wild-type DNA is mixed with

a heterozygous mutant sample, the mixture will

now consist of

unequal parts of wild-type homoduplexes and mutant homoduplexes.

At the end of PCR, or after dissociating

by heating and annealing by cooling, a reduced fraction of

heteroduplexes will be formed depending on the amount of

wild-type DNA added.

As the heteroduplex enhanced

homozygous mutant melting curve moves away from

the wild-type melting curve, the heteroduplex reduced

heterozygous melting curve moves toward them both. We

seek the point where the three are best separated.

\centerline{\bf MATERIALS AND METHODS }

\bigskip

Our basic method is to derive a model for the heteroduplex

content of a mixture of genotypes after amplification

and reassociation, in terms of the mixture fraction.

We then develop quantitative models for the melting curve

of such a mixture in terms of the melting

curves of the constituent duplex types and the heteroduplex

content, and similarly for TGCE arrival data of mixtures

in terms of their constituent duplex types and content.

\bigskip

In the case described above when the homozygous mutant and

wild-type curves are indistinguishable,

the result of our analysis is that the maximum separation between

melting curves of different genotypes is given by difference in

the heteroduplex content of the mixtures times

the maximum separation between the common homoduplex melting curve

and the average heteroduplex melting curve.

\bigskip

After presenting the model,

we use it to optimize the separation of heteroduplex contents

of the three genotypes in terms of mixture fraction.

Next we present our materials for performing experimental tests

of the model and methods for their analysis before

discussing the results in the final section.

\bigskip

We begin in Table 1a which lists the type and fraction

of homoduplexes are amplified when we mix wild-type and

unknown DNA in fraction $x$ of wild-type to $1-x$

of either

wild-type, homozygous mutant, or heterozygous mutant.

We refer to $x$, which measures the fraction of

wild-type DNA added as a proportion of the mixture of

sample plus added DNA, as the `mixture fraction'.

When $x=0$, the mixture consists of just the original

genotype. When $x=1$, it describes

a pure wild-type sample regardless of the initial

unknown genotype.

Table 1b lists the type and fraction of duplexes

which result when complementary

and nearly complementary strands reassociate

independently to form duplexes

when PCR has plateaued, or after subsequent heating

and cooling.

The assumption of independence states that

complementary and nearly complementary

strands associate in proportion to their

concentration, so we obtain the fractions in

Table 1b simply by multiplying the corresponding

fractions from Table 1a.

\bigskip

Corresponding to each duplex species $d_j$ will be its

normalized

fluorescence curve,

$F_j(T)$.

The function $F_j(T)$ refers to the curve with  background

fluorescence removed and accounts

for factors such as lower fluorescence

per duplex behavior of heteroduplexes.

Table 1c gives

the normalized melting curves for the mixture fraction

$x$ of wild-type DNA and $1-x$ DNA sample of each of the genotypes,

Assuming fluorescence is additive,

We use $W(T,x)$ for wild-type sample,

$M(T,x)$ for mutant homozygous sample, and $H(T,x)$ for

heterozygous sample ($T$ is temperature).

Experimental examples of the unmixed curves $W(T,0),M(T,0),$ and $H(T,0)$

are shown in Fig. 1.  and theoretical examples of

$F_1=W(T,0), F_2, F_3, F_4=M(T,0)$, and $H(T,0)$

are shown in Fig. 2.

\bigskip

Our goal is to find the mixture fraction $x$ which maximizes our ability

to separate the three mixed melting curves. We use

the maximum vertical distance between

two graphs to measure their separation, and the minimum

separation among any of the three pairs of curves to score

the effectiveness of our mixture fraction. Mathematically then,

we seek

$$\max_{x \in [0,1]}

\min \{

\max_T | W(T,x) - M(T,x) | ,

\max_T | W(T,x) - H(T,x) | ,

\max_T | H(T,x) - M(T,x) |

\}.\eqno(1)$$

Table 1d gives expressions for the

differences $W-M$ and $W-H$, and after simplifying,

we will determine $H - M$ as the difference of these

differences.

\bigskip

Since we are most interested in the situation where

$F_1(T)$ and $F_4(T)$ are difficult to distinguish,

or we would not be adding DNA of one type to do so,

we assume $F_1(T)=F_4(T)$.

This condition is predicted by the nearest-neighbor

approximation for SNPs with the symmetry described

in the previous section.

Although the two homoduplexes have the same melting curves

in the symmetric case, the heteroduplex species typically

have very different thermodynamic behavior,

and fortunately our derivation does not require

that $F_2$ and $F_3$ agree.

Table 1e gives simplified forms for the

difference curves in this case,

indicated by the subscript $\ _=$.

They are obtained by first

replacing  $F_4$ by $F_1$, combining terms

removing a common factor from the resulting

coefficients of $F_1, F_2$, and $F_3$, then

writing $F_1={F_1 + F_4 \over 2}$.

\bigskip

The result justifies our earlier statement that

when the homozygous mutant and

wild-type curves are indistinguishable,

the difference between melting curves of different

genotypes is given by difference in

the heteroduplex content of the mixtures times

the difference between the common homoduplex melting curve

and the average heteroduplex melting curve:

$$W_=(T,x)- M_=(T,x) = m(x)F(T) \eqno(2a)$$

$$W_=(T,x)- H_=(T,x) = h(x)F(T) \eqno(2b)$$

and therefore

$$H_=(T,x)- M_=(T,x) = (h(x)-m(x))F(T), \eqno(2c)$$

where

$$F(T) =  {F_1(T)+ F_4(T) \over 2} -  { F_2(T) + F_3(T) \over 2} \eqno(3)$$

is the difference between the average homoduplex melting curve

and the average heteroduplex melting curve, and

$$m(x)=2x(1-x) \eqno(4a)$$

$$h(x)= { 1-x^2 \over 2} \eqno(4b)$$

$$h(x)-m(x)= {3x^2-4x+1 \over 2}. \eqno(4c)$$

represent the total heteroduplex content difference

between the various genotype mixtures with wild-type DNA.

The graphs of the absolute values of the three heteroduplex

content difference functions are given in

Fig. 3, annotated with key features derived below.

The (theoretical) standard difference curve $F(T)$ is

shown in Fig. 2.

\bigskip

The expressions for $m(x),h(x),$ and $h(x)-m(x)$

uncouple the $x$ (mixture fraction of added DNA) and $T$

(temperature) dependence of the differences among fluorescence

curves of different genotypes, and identify

the $x$ dependence of the separation of melting curves

of different genotypes as proportional solely to

the difference in heteroduplex content of the mixtures.

This allows us to optimize

the mixture fraction independently, regardless of the

specific nature of individual duplex curves contributing

to the superpositions.

This is perhaps surprising, since in general, different

combinations of different functions

result in varying shapes and locations of their extrema.

Since all expressions are

linear, we can obtain the difference of the

negative derivative curves of the different genotypes

simply by replacing $F_j$ in the expressions

above with their negative derivatives, and all of the results we will obtain

regarding maxima and minima will still hold.

\bigskip

Our original genotype separation problem has become

$$ \max_{x \in [0,1]} \min \{ m(x)  , h(x)  , | h(x) - m(x) | \}  F ,\eqno(5)$$

where

$$F= \max_{T} F(T) \eqno(6)$$

represents the twice the separation of the original (no added wild-type

DNA) heterozygous

curve from the common original wild-type and homozygous SNP curves,

since $h(0)={1 \over 2}$.

So all that remains to optimize the mixture fraction $x$ is

to maximize the separation by maximizing the

smallest of the three heteroduplex

content differences:

$$s(x)= \min \{ m(x)  , h(x)  , | h(x) - m(x) | \} . \eqno(7)$$

In Fig. 3, this corresponds to finding

the highest point on the lowest of the

three graphs of $m$, $h$, and $|m-h|$.

Table 1f identifies three intervals on which

the ordering of these functions is preserved.

We can find these intervals by finding the

points where two of them become equal:

$h(x)=m(x)$ when

$h(x)-m(x)={3 x^2 -4x + 1 \over 2}= {1 \over 2}(3x-1)(x-1)=0$,

at $x=1/3$ and $x=1$,

and

$m(x)=h(x)-m(x)$ when

$h(x)-2m(x)=

{7 \over 2}x^2 -4x +{1 \over 2}={1 \over 2}(7x-1)(x-1)

=0$, at $x={1 \over 7}$ and $x=1$.

\bigskip

Calculus theorems confirm our visual intuition that the maximum of

of the lowest graph can only occur where the slope of

its tangent is zero, or it does not have a well-defined

tangent. (If $s(x)$ has a local extremum at $x=a$, then

$s'(a)=0$ or $s'(a)$ does not exist.)

The only place $s'(x)=0$ is

halfway between its roots ${1 \over 3}$ and $1$ (since

it is quadratic in this interval), i.e.,

at $x={2 \over 3}$.

This corresponds to adding twice as much wild-type DNA

as there was unknown DNA and gives a

separation of ${1 \over 6}F$,

between the heterogygous and homozygous SNP curves,

or ${1 \over 3}$ of the original separation between

the heterozygous melting curve and the other two.

The separation between the wild-type

melting curve and the other two melting curves

will be larger.

\bigskip

The only places $s(x)$

is not differentiable is where it

changes form, i.e., at $x={1 \over 7}$ and $x={1 \over 3}$.

Comparing the values at these points and

$x={2 \over 3}$, we find the

optimal mixture fraction occurs at

$x=x_*={1 \over 7}$, as indicated in Fig. 3.

Here, the melting curve of the mixture with homozygous DNA

is halfway between the other curves at the temperature

of maximum separation, where

its separation from each is ${12 \over 49} F$.

This is only barely less than half of the

original separation of ${1 \over 2}F = {24 \over 48}F$

between the heterozygous melting curve and the other two

genotype curves.

\bigskip

A simple heuristic explanation for this value,

corresponding to adding one part wild-type DNA to

six parts unknown sample

is based upon the observation that the melting

curves will be optimally separated when the homozygous

mutant curve becomes equidistant from both the wild-type

and heterozygous melting curves, so the heteroduplex

content of the wild-type-heterozygous mixture

must be exactly twice that of the

wild-type-homozygous mixture: $h(x)=2m(x)$

The ratio of $1$ part wild-type to $6$ parts unknown is

optimal because $6$ is the unique number which can be

divided in equal parts ($3+3$, the heterozygous sample

strands), and when one of the parts ($3$, SNP strands)

is multiplied by the other plus $1$ ($4=3+1$, wild-type sample

plus added wild-type strands) one obtains exactly twice the

original number ($6$, the homozygous SNP strands) multiplied

by $1$ (added wild-type strands.)

At the simplest level, it is because

$({6 \over 2})({6 \over 2}+1)=2(6)(1)$ that $x_*={1 \over 7}$

of the total unknown plus added DNA is the optimal

mixture fraction.  This is visualized in the animation

\bigskip

http://www.math.utah.edu/$\sim$palais/pcr/michael/spike/spike.html

\bigskip

When the wild-type and homozygous SNP curves are not the

same, the max-min problem does not separate into

individual mixture fraction and temperature problems.

In this case, the optimal mixture fraction still

may be characterized by the two-dimensional generalization

of the above criteria, but it must be found numerically

depending upon the specific curves $F_j(T)$. That is,

the mixture fraction-temperature rectangle $[0,1] \times [T_1,T_2]$

must be divided into regions on which the corresponding

$h(x,T)-m(x,t)$ is either positive or negative, and

within these regions, local extrema are characterized

by when the gradient of the

smaller of $h(x,T)$ and $m(x,T)$, denoted

$s(x,T)$ or of the larger minus the smaller, denoted $l(x,T)-s(x,T)$

is zero, or when $s(x,T)=l(x,T)-s(x,T)$.

It seems reasonable to expect that the best separation

could be obtained by including the possibility

of adding whichever type of homozygous SNP or

wild-type curve is already closer to the heterozygous curve.

\bigskip

To test the model of the previous section, we performed several experiments

to genotype DNA for the presence of a homozygous or heterozygous

SNP, 187C$>$G, which is found in the hemochromatosis gene (HFE). This

mutation we analyzed

\smallskip

\noindent

5'-TCA-3' \quad  5'-TGA-3' \hfil\break

3'-AGT-5' \quad  3'-ACT-5' \hfil\break

\smallskip

has the nearest-neighbor symmetry described above which results in a

melting curve for the homozygous case which is theoretically identical

to and experimentally indistinguishable from that of wild-type DNA.

\bigskip

(Table 2 contains the complete sequence of melting analysis and TGCE

amplicons with SNP and primers highlighted.

H63D\_sequence\_031010.doc)

\bigskip

We examined mixtures of known quantities of DNA of each genotype

and additional wild-type DNA,

in 21 ratios of the added DNA to

total DNA (initial plus added.) The ratios,

from 1/28 to 14/28 by increments of 1/28, and from

15/28 to 27/28 in steps of 2/28, allowed us to include the

theoretically optimal value, 1/7, and observe the behavior of the

process in some detail over a wide

range of interest for pooled samples as well. The ratio j/28 of

additional wild-type DNA to total DNA (unknown sample plus additional)

corresponds to the ratio j/(28-j) of additional DNA to unknown,

so for instance,

the optimal value of 4/28 of total DNA

corresponds to  adding 4/24=1/6 as much wild-type as there is

unknown sample DNA.

\bigskip

We mixed wild-type DNA in three replicates for each of the three genotypes

(denoted WT, MUT, and HET) before PCR with the appropriate

mixture fraction of wild-type DNA.

All samples with a common mixture fraction were amplified together

in the presence of a high-resolution fluorescent dye,

along with two control samples containing heterozygous DNA

with no wild-type added.

Since the extension step of each PCR cycle generates only

homoduplexes, after amplification is complete, we perform

a final additional melt and reannealing to produce the heteroduplexes.

Samples with the same mixture fraction of additional DNA were also

analyzed simultaneously.

\bigskip

Detailed protocols for the amplification and subsequent heating

and cooling before melting analysis are given in Table 3.

\bigskip

We performed high-resolution melting analysis on all of the

resulting samples to produce actual fluorescence vs. temperature

melting curves corresponding to the model functions of the

previous section.

\bigskip

This is a closed-tube process which avoids risk of contamination and

leaves the sample undisturbed for further types of analysis.

It provides a fast, economical, and accurate method of genotyping and

mutation scanning which has been described and studied in a variety of

contexts $^(7-12)$.

\bigskip

Melting curves are first standardized by removal of background

fluorescence. Next, they are temperature shifted to adjust for small

variations in reported temperature, by

superimposing the `toe' feature common to

all curves, where only the most stable homoduplexes are left to melt.

Difference plots were used to

highlight relative variation between genotypes.

\bigskip

The value and location

of the maximum

difference and the area

between curves of the different genotypes and the average of the

wild-type replicates were recorded for analysis and comparison

with the theory.

According to the theory, location of maximum difference is constant,

and magnitude of maximum difference, and area under difference

are directly proportional to the heteroduplex concentration of the samples.

\bigskip

To obtain an independent and more direct analysis of

heteroduplex content,

we also performed temperature-gradient

capillary electrophoresis (TGCE) on

a set of genotype mixtures representing the

same range of mixture fractions.

In this technique,

the arrival of duplexes in a sample is detected after they are drawn through

a gel. Each species of duplex has a characteristic arrival time

distribution depending on its spatial conformation.

This corresponds to the frequency of duplex arrivals per frame, the

quantity which is actually measured. The

center of heteroduplex peaks are significantly delayed

and separated from each other in comparison to homoduplex

peaks.

This is due to the distinct `bubbles' formed by different mismatched

base pairs of the two heteroduplexes. The two species

of homoduplex have no bubbles and appear as one peak.

The two heteroduplex peaks are easily separated from the homoduplex

peak and from each other. These peaks exhibit simple mathematical

behavior which makes it possible to separate and quantify the relative

contributions of the heteroduplexes.

This permitted us to more directly validate

the relative concentration of heteroduplexes in samples

upon which our theoretical model

of mixture separation is based.

\bigskip

For TGCE analysis, we used

larger amplicons containing the same region

in the HFE gene. In addition to larger amplicons providing

better TGCE results, this also could show that our results

were independent of amplicon size.

Detailed protocols for the amplification of samples for

TGCE analysis are given in Table 3b, and protocols for the

analysis itself in Table 3c.

\bigskip

The TGCE data was analyzed quantitatively as follows.

Individual TGCE peaks were approximated by

exponential distributions of the form

$F(t)=Ae^{-kt}, t \geq  t_0; F(t)=0, t<t_0$. Higher resolution

data might be amenable to closer fit by higher order gamma

distributions of which the exponential distribution is a special

case, but since the peaks are only resolved by on the order of

10 data points, the simplest version must suffice. Some additional

evidence that this is reasonable is provided by the fact that the

fit parameters of each peak remained nearly invariant when the window

of points

used for the fit was varied in size and distance from the peak.

The observed arrival frequency before each peak did not have the

strict cutoff behavior of the exponential distribution, as some

increase above background was seen one frame before the maximum

of the first arrival peak. However, no increase above background

could be seen two frames before the first arrival peak. Based upon

this model, we could solve for the combined amplitudes and decay

rate of homoduplex concentrations contributing to the first arrival

peak, and by successive subtraction, iteratively solve for the

amplitudes of subsequent peaks.

Because of the large dynamic range of the peaks and

their narrow extent in terms of data acquisition frames, the

quantitative results might be expected to

be sensitive to the fitting process.

For example, we approximated the start of each exponential

sub-distribution with the frame of the

maximum measured value, even though actual peak is located

somewhere between this frame and an adjacent one.

In spite of this sensitivity,

we found that the decay rates of different peaks

were nearly independent of duplex species, peak amplitude,

fitting window and method, which provided additional confidence

in the model.

We are investigating more sophisticated gamma fits of the data,

and corresponding deconvolution techniques which could reduce

these sources of error.

\bigskip

Once the constituent peak amplitudes were quantified,

the heteroduplex proportion was determined by first computing the

ratio of the sum of the derived amplitudes of the two heteroduplex

peaks to the sum of these plus the amplitude of the

combined homoduplex peak. This ratio was

then adjusted by a factor close to $1$

which made the same ratio determined from heteroduplex

control samples

equal to the expected value of $0.5$.

\bigskip

\centerline{\bf DISCUSSION }

\bigskip

Fig. 4 shows the average calculated values of the

maximum difference between the three replicate

melting curves of mixtures with homozygous and heterozygous genotypes

and the average of the wild-type melting curves,

as a function of the mixture fraction.

The values are normalized by a scaling

which makes the value of pure heterozygous control samples equal to $0.5$.

This corresponds to the concentration of heteroduplexes in the theoretical

model, which is superimposed on the figures.

The squared correlation between the experiment and the model,

$R^2 ={ (\X \cdot \M )^2 \over (\X \cdot \X ) (\M \cdot \M ) }$

where $\X$ is the vector of experimental values

and $\M$ is the vector of model values

at the measured mixture fractions.

(We do not use the usual formula for $R^2$ in terms

of sums of squares,

$1 - { \E \cdot \E   \over  \X \cdot \X } $

where $\X + \E = \M$,

which requires $\M$ to be the best fit of the experimental

data satisfying the orthogonality condition

$||\M||^2 + ||\E||^2 = || \X || ^2$, or

$(\M \cdot \E)=0$.

Even though $\M$ is not the best fit, the squared correlation

coefficient values satisfy

$R^2>.99$ for the heterozygous samples, and $R^2>.98$

for the homozygous samples.

\bigskip

Fig. 5a shows the standardized melting curves corresponding

to the optimal $4/28$ mixture fraction.

The replicates cluster indistinguishably, appearing as one curve,

and the three genotypes are equally separated.

They may easily be classified by the observer's

eye or by automatic classification  software.

This is a vast improvement from the Fig. 1 in which

replicates of the homozygous SNP and the wild-type samples overlapped

each other completely.

\bigskip

For comparison, Fig. 5b and 5c show the standardized

melting curves corresponding to mixture fractions $9/28$

and $14/28$,

in which it is again difficult to distinguish

the homozygous and heterozygous samples as our model

predicts. Fig. 5d show the melting curves

at mixture fraction $19/28$ near where they are again

best separated, albeit in a different order.

This demonstrates

the importance of the correct mixture fraction. Using equal proportions,

or just any small proportion such as $1/3$ gives no improvement

on the original results with no mixing at all!

\bigskip

Fig. 6 shows experimental difference curves between

wild-type melting curves and the other two genotype melting

curves at two values of $x$, $x=0$, or no added DNA (Fig. 6a)

and at the optimal value $x=4/28$ (Fig. 6b). In both case,

the shape and magnitude agree nicely with the theoretical

melting curves and the  predictions of our model.

\bigskip

Fig. 7a shows typical raw TGCE data for three replicates

of mixtures with each genotype with mixture fraction $9/28$,

over a range of frames beginning with frame $1000$

and containing all of the peaks.

Fig. 7b shows the same data normalized by shifting all peaks

to the same frame number and scaling to the same height.

This figure demonstrates the common heteroduplex content of the

homozygous mutant and heterozygous genotypes at this

mixture fraction, which is responsible for

their overlapping melting curves seen in Fig. 5b,

reemphasizing the sensitivity of the results to

choosing the added DNA proportion suboptimally.

\bigskip

Fig. 8 shows the average of the calculated values of the

heteroduplex proportion

of of three replicate of mixtures with homozygous

and heterozygous samples as a function of the mixture fraction.

Once again, the squared correlation coefficients between the

experimental data and the model are high, with $R^2> .97$

for both heterozygous and homozygous samples.

This agreement between

the results of a fairly simple analysis and those of the

melting curve experiments and the theory suggest that  quantitative

TGCE (qTGCE) estimation of heteroduplex content of mixed or pooled

samples is indeed feasible and informative.

\bigskip

The experimental results confirm the main points of

the theory.

The maximum difference between melting curves

and the heteroduplex concentrations inferred

from TGCE experiments agree with each other and with

the theoretical predictions of heteroduplex concentration

with considerable accuracy over a wide range of

mixture fractions.

The area between melting curves and

the location of the maximum difference between

curves also behave as predicted.

The plots of these quantities follow the quadratic behavior of the

model qualitatively over the entire range, and are quantitatively

close over a range of mixture fractions up to

one-half (14/28) of the total.

\bigskip

Where the data deviates from the model above this mixture fraction,

there is a definite trend for heteroduplex concentrations estimated

from TGCE and corresponding melting curve differences to be larger

than those predicted by the theory for a given mixture fraction.

Because the heteroduplex

concentration vs. mixture fraction curves for both the heterozygous

and heterozygous unknowns are decreasing for mixture fractions greater

than 14/28, the inferred experimental values correspond to mixture

fractions lower than those we prepared experimentally. So one

possible source of such a trend could be that the actual fraction

of additional wild-type DNA fell short of the intended value as that value

grew beyond one-half.  Selective amplification (unequal efficiencies)

in PCR or amplification of initial variations that diminish final

concentration of wild-type DNA at higher concentrations could

have such an effect.

If complementary and nearly-complementary strands anneal preferentially

rather than independent of their differences,

the assumptions of the model would be violated,

although it would

be surprising if such a bias favored more rather than less

heteroduplex formation.

\bigskip

Regardless of these subtle deviations from close agreement

with a fairly simple model, the ultimate test of our method is

given by the ease with which the simple melting curve approach to

can be used to genotype the optimally mixed samples, in contrast

to unmixed or non-optimally mixed ones.

\vfill \eject

\centerline{\bf

References

}

\bigskip

\noindent

1.  Highsmith WE Jr, Jin Q, Nataraj AJ, O'Connor JM, Burland VD, Baubonis WR,

Curtis FP, Kusukawa N, Garner MM.  Use of a DNA toolbox for the

characterization of mutation scanning methods. I: construction of the

toolbox and evaluation of heteroduplex analysis.

Electrophoresis. 1999 Jun;20(6):1186-94.

\medskip

\noindent

2. Ruano, G, Kidd, K.K.

Modeling of Heteroduplex Formation during PCR from Mixtures of DNA

Templates.

PCR Methods Applic. 1992. 2: 112-6.

\medskip

\noindent

3. Ruano, G, Deinard, A.S., Tishkoff, S., Kidd, K.K.

Detection of DNA sequence variation via deliberate heteroduplex formation

from genomic DNAs amplified en masse in "population tubes".

PCR Methods Applic. 1994. 4: 225-31.

\medskip

\noindent

4.  Xiao W, Oefner PJ.  Denaturing high-performance liquid

chromatography: A review.

Hum Mutat. 2001 Jun;17(6):439-74.

\medskip

\noindent

5.  Li Q, Liu Z, Monroe H, Culiat CT. Integrated platform for

detection of DNA sequence variants using capillary array

electrophoresis.  Electrophoresis. 2002 May;23(10):1499-511.

\medskip

\noindent

6.  Gundry CN, Vandersteen JG, Reed GH, Pryor RJ, Chen J, Wittwer CT.

Amplicon melting analysis with labeled primers: a closed-tube method

for differentiating homozygotes and heterozygotes.

Clin Chem. 2003 Mar;49(3):396-406.

\medskip

\noindent

7.  Wittwer CT, Reed GH, Gundry CN, Vandersteen JG, Pryor RJ.

High-resolution genotyping by amplicon melting analysis using

LCGreen.  Clin Chem. 2003 Jun;49(6 Pt 1):853-60.

\medskip

\noindent

8.  Reed GH, Wittwer CT.  Sensitivity and specificity of

single-nucleotide polymorphism scanning by high-resolution

melting analysis.  Clin Chem. 2004 Oct;50(10):1748-54.

\medskip

\noindent

9.  McKinney JT, Longo N, Hahn SH, Matern D, Rinaldo P,

Strauss AW, Dobrowolski SF.  Rapid, comprehensive screening of the

human medium chain acyl-CoA dehydrogenase gene.  Mol Genet

Metab. 2004 Jun;82(2):112-20.

\medskip

\noindent

10.  Willmore C, Holden JA, Zhou L, Tripp S, Wittwer CT, Layfield LJ.

Detection of c-kit-activating mutations in gastrointestinal stromal

tumors by high-resolution amplicon melting analysis.

Am J Clin Pathol. 2004 Aug;122(2):206-16.

\medskip

\noindent

11.  Zhou L, Vandersteen J, Wang L, Fuller T, Taylor M, Palais B, Wittwer CT.

High-resolution DNA melting curve analysis to establish

HLA genotypic identity.  Tissue Antigens. 2004 Aug;64(2):156-64.

\medskip

\noindent

12.  Liew M, Pryor R, Palais R, Meadows C, Erali M, Lyon E, Wittwer C.

Genotyping of single-nucleotide polymorphisms by high-resolution

melting of small amplicons.  Clin Chem. 2004 Jul;50(7):1156-64.

\medskip

\noindent

13.  Kuklin A, Davis AP, Hecker KH, Gjerde DT, Taylor PD.

A novel technique for rapid automated genotyping of DNA polymorphisms

in the mouse.  Mol Cell Probes. 1999 Jun;13(3):239-42.

\medskip

\noindent

14.	Liew, M., et al., Genotyping of single-nucleotide polymorphisms

by high-resolution melting of small amplicons.

Clin Chem, 2004. 50(7): p. 1156-64.

\medskip

\noindent

15.	Bernard, P.S., et al., Homogeneous multiplex genotyping of

hemochromatosis mutations with fluorescent hybridization probes.

Am J Pathol, 1998. 153(4): p. 1055-61.

\medskip

\noindent

16.	Margraf, R.L., et al., Genotyping hepatitis C virus by

heteroduplex mobility analysis using temperature gradient capillary

electrophoresis. J Clin Microbiol, 2004. 42(10): p. 4545-51.

\medskip

\bye

spectrumedix TM and reference?